# PFAS Weekly Update to LHD Advisory Committee September 10, 2021

Site Highlights

- 3523 Heights Ravenna Rd

- EGLE’s contractor collected a drinking water well sample from one home on September 2nd. This is the first drinking water well sample collected for this site thus far.

- Brooks/Laketon

- One result was received on September 3. The resident has been contacted via phone and will be eligible for a POU filter.

- Camp Grayling

- September 9, 2021 – Camp Grayling PFAS Investigation Community Meeting, 6 – 8 PM. Sesha Kallakuri, Toxicologist will be presenting PFAS, health effects, and MDHHS resampling updates.

- Grayling Army Airfield

- National Guard Bureau (NGB) is working with their contractors to replace the whole house filter cartridge at the River House Women’s Shelter since the indicator light is red. In the meantime, the location has both a NGB-provided water dispenser and LHD-provided certified point-of-use filter that they can use.

- Per MDHHS’ recommendation, NGB agreed to monitor the whole house systems, they provided, each time when the indicator light is green, yellow, and red. However, they depend on the residents to inform them when the light turns a different color. The River House Women’s Shelter did not notify when the light turned yellow but NGB will try and collect pre- and post-filter samples while the light is still red before they swap out the cartridges.

- NGB will be picking up their Absopur water dispenser systems, on September 9th, from 12 out of 14 Township homes where whole house systems were installed. One location that gets to keep the water dispenser is the River House women’s shelter until the whole house cartridge is swapped out. The other location is the home that had ~200 ppt Total PFAS in post whole house filtered water. DHHS collected samples to confirm levels and the Site Toxicologist requested NGB to provide jugs for the water dispenser until we have the results back from our confirmation sampling.

- Camp Grayling Lake Margrethe

- Per EGLE’s Water Resource Division (WRD), MIArNG is performing a Short Term Storm Water Characterization Study at the Camp Grayling Cantonment area to address concerns for PFAS contamination in storm water discharge. The first sampling event took place on June 24, 2021 and did have elevated PFOS levels (439 ppt) in the discharge at one location. A second sampling event too already occurred, and the results show that elevated levels of PFOS have been detected in the same location (321 ppt) as the first sampling event as well as a second location (14.5 ppt). Treatment options for the storm water discharge are being considered.

- City of Stanton

- City officials are planning on sampling three residential wells soon.

- Detroit Metro Airport

- A project team call occurred this week to discuss the groundwater monitoring results.

- Ford Airport

- 9 result letters sent to residents

- Houghton County Airport

- Had dry run meeting with EGLE and airport’s contractor. A meeting with local officials is scheduled for Thursday September 16, 2021.

- JB Sims

- A project team call occurred this week to discuss the upcoming Sep. 13 virtual public meeting. MDHHS will address any questions regarding health risks in the area.

- Kincheloe Air Force Base

- 9 out of 10 residential wells sampled in August 2021 had no detections of PFAS. One home had detection of only PFOS at 17 ppt. Site Toxicologist recommends EGLE to resample that one home to confirm levels. EGLE PM is checking with their management.

- Lacks Industries – Airlane

- Site Conceptual Site Model (CSM) shows that drinking water receptors are unlikely to be impacted but we can’t yet rule them out.  Continuing to work with local health, EGLE, and geologist to determine if well testing is necessary.

- Muskegon County WWTP

- EGLE received results from 6 residential wells sampled for PFAS west of the Muskegon Co WWTP. 4 of the 6 wells were ND for all PFAS. 2 wells had low level detections of several analytes. All results were at or below MCLs. The highest PFOA detection was 8 ppt, which is at the MCL value. Site Toxicologist recommends DHHS’ resampling approach within the next 6 months instead of providing alternate water to detections. EGLE concurs with this approach. Toxicologist will reach out to LHD to get their input before putting together the subsequent PHA and resampling plan for the site.

- Norton Creek

- Oakland County Health Dept sampled the Proud Lake well in order to get the well back on line.  A risk assessment memo has been drafted by MDHHS.

- Otsego

- Residents started calling MDHHS to schedule sampling.

- Pollard Landfill

- A meeting for local officials took place on 09/09/2021.

- Rothbury Forrest St

- Two residential wells were sampled by EGLE this week.

- Saranac Landfill

- EGLE is investigating the historic Saranac Landfill for environmental contamination. Due to difficulties in gaining access to the site to sample landfill’s groundwater monitoring wells, EGLE has determined that residential sampling (~10 private wells) is needed to ensure drinking water is below drinking water standards. EGLE is planning a meeting with local officials to discuss the site and potential next steps at the site.

- Techni-Comp

- EGLE sent five access agreement letters to homes but has not heard back from any of them. They will try calling residents instead.

Upcoming Meetings

- September 13, 2021 – JB Simms Virtual Public Meeting

- September 21, 2021 – Oakland County International Airport – Virtual Townhall

- December 7 – 12, 2021 -   Great Lakes Virtual PFAS Summit