# PFAS Weekly Update to LHD Advisory Committee September 24, 2021

Site Highlights

- Arbor Hills Landfill

- A town hall is tentatively scheduled for October 14. An internal planning call is scheduled for September 30.

- Belding WWTP

- A total of 9 drinking water wells were tested. We should receive results in the next 2-3 weeks.

- Buckeye Niles Terminal

- EGLE asked Buckeye to delineate the PFAS contamination vertically since they only have shallow wells that were previously installed for petroleum contamination monitoring.

- EGLE is not planning on sampling drinking water wells, unless the deep well Buckeye installs show detections that could potentially mean there is deep contamination migrating off site.

- MDHHS geologists believe that the immediate concern is to the area west to the site.  There is a lot of sand and gravel, no clay to prevent contamination from traveling from the shallow aquifer to the deep aquifer.

- MDHHS contacted LHD and asked for possible wells near the site. LHD provided a list of wells near the site.

- Based on the list provided by the LHD and the information found by MDHHS geologists, there are 5 wells present downgradient or immediately south of the Site with confirmed groundwater wells. Two of these wells are confirmed active. There was no information confirming the other wells were connected to the Municipal water supply.

- MDHHS toxicologist will schedule an internal meeting to discuss this site.

- Capital Lansing Airport

- EGLE sent groundwater results. There were PFAS exceedances.

- Coldwater Rd. Landfill

- The results letters templates are ready for 2 residences. Toxicologist will be scheduling a meeting with the data team so that we can send the results to the residents ASAP.

- Collier Rd Landfill PFAS Res Well Sampling

- EGLE left the door hangers at the 3 houses proposed for sampling. None of the residents contacted EGLE. MDHHS should also try to reach residents.

- Detroit Metro Airport

- A town hall is tentatively planned for the end of October.

- Discount Tire Area- North State Road

- The MDHHS data team created a pivot table.

- Du-Wel

- The LHD provided two Amish addresses, however, only one address was on the EGLE list of houses for sampling. MDHHS asked the LHD if the other house has a well, but the LHD did not respond. MDHHS asked EGLE, they confirmed that this address is part of the research area and that it must have a well. MDHHS will add it to the list of houses for sampling.

- Resident who lives at 59519 65th Street, Hartford did not receive his water well results. MDHHS will provide his results by email on 09/16/21.

- Franklin Village Area

- Drinking water wells were resample on July 30th. We are still waiting for the results.

- Gogebic

- MDHHS toxicologist was notified on 09/15/21 that the result letters for the last sampling have not been mailed yet. The reason is because there is a shared well where one address wasn't sampled. MDHHS toxicologist schedule a meeting for 09/17/2021 to discuss this issue.

- Grayling Army Airfield

- The National Guard Bureau (NGB) and Michigan Air National Guard (MIArNG) had a closed meeting, on 9/15, with the 14 homeowners that were provided whole house systems as part of their CERCLA time-critical removal actions (TCRA).

- MDHHS and EGLE learned from NGB, on 9/15, that residents with the whole-house systems will receive only a single replacement cartridge for the first year and thereafter, the residents have to bear the costs of the cartridges. Each replacement cartridge is about $500. MDHHS and EGLE met with MPART Executive Director, on 9/15, to discuss this issue further. MDHHS/EGLE, in consultation with the Attorney

General’s (AG’s) office, will draft a letter to the NGB mentioning that the purpose of Time Critical Removal Action (TCRA), which is providing safe drinking water until a final remedy has been determined, has not been met. This means the NGB has to continue providing replacement cartridges until the final remedy protective of public health has been determined and implemented.

- Hemphill Landfill Investigation

- MDHHS provided EGLE with information on Type 2 and Type 3 wells located near the site, and contact information for the shallow Type 3 well. LHD provided updated information on this shallow well. MDHHS asked EGLE to contact the property owner regarding sampling. MDHHS also requested EGLE for updates on the site investigation (surface water sampling and communication with the landfill RP).

- Huron Watershed

- The draft press release for the lifting of the Do Note Eat (DNE) fish advisory on the lower Huron River is with Maria for unit manager approval.

- Kavco Landfill

- A project team call occurred on Sep. 16. Results letters within Allegan County will be sent out tomorrow. The results letters within Barry County are being prepared.

- M-60

- 2 houses were sampled in spring 2021. The PR did not sample for the full list of PFAS. EGLE asked them to sample for the full list of PFAS. They planned to take samples again in the summer of 2021. MDHHS asked EGLE for updates on 09/13/2021, but still waiting for the updates.

- Mt. Pleasant City Landfill

- EGLE received a report in the very end of July.   The report included general overall dimensions of the landfilled area, based on soil borings.   Monitoring wells were surveyed to try and determine groundwater flow direction, and some of the shallow monitoring wells were sampled.  EGLE believe the closest drinking water well is approximately ½ mile away. Mannik Smith Group will be submitting a Response activity plan in the very near future and that should have some discussion regarding potential drinking water wells.

- Norton Creek

- MDHHS will conduct quarterly monitoring of the Proud Lake Rec Area well. The next sampling date is October 4.

- Oakland Heights

- OHDLF’s initial sampling analysis plan (SAP) was not approvable, and EGLE requested that the facility add additional wells to the sampling plan.  A revised SAP was submitted by Republic Services and subsequently approved by Materials Management Division (MMD).  The PFAS sampling is scheduled to occur within the next two months.

- There is a Type II well to the north of the OHDLF that has been sampled and found to be ND for PFAS.  There are no other residential wells identified downgradient of the facility that appear to be at risk.

- Otsego Area Study

- 17 homes were scheduled for sampling on 09/14/2021.

- MDHHS plans to visit the remaining homes next week to see if they can get additional homes sampled.

- A short summary of the MDHHS sampling efforts was provided to the LHD.

- Pellston

- Ten first-time sampling results were received on Sep. 14. Seven of the homes had PFAS detections, with three exceeding the CVs.

- Rothbury Forrest St

- Two residential well results were received on Sep. 16. Both results were ND.

- SMDA 11 Landfills

- SMDA submitted an SAP that was partially approved for the sampling of all monitoring wells for PFAS.  SMDA 11 LF has a NOV pending, with issues that were not addressed in the SAP - including the installation of additional monitoring wells.  SMDA recently submitted the analytical results from their PFAS sampling to MMD.  They also agreed to install additional monitoring wells and sample for PFAS in those wells.

- SMDA 11 Landfills has several (>15) residential wells within ½ mile of the facility.  The area surrounding SMDA 11 LF is experiencing an influx of new housing, with upper six to seven figure homes going up to the north, northeast, west and south.  The residential wells in question are located directly west of the site, which puts them side gradient in terms of groundwater flow, possibly on the other side of a groundwater divide. The groundwater flow direction at the site is to the southeast. However, there is obvious groundwater contamination at SMDA 11 and there is not enough hydrogeological data to delineate the full extent of groundwater contamination.  The NOV for SMDA 11 LF requires an assessment monitoring plan and, as an MPART site, they will be responsible for addressing the PFAS contamination also.

- EGLE provided ground water results. There were exceedances of PFAS in monitoring wells (MWs). Highest PFOS was 35 ppt, highest PFOA was 10 ppt

- EGLE will schedule a meeting with MDHHS and the LHD to discuss drinking water well sampling.

- Springfield Township Dump

- A coordination call was scheduled between EGLE, MDHHS and local health department for next week, as EGLE received residential wells sampling results for 27 residences. Out of 27 samples, 26 samples are non-detect and one sample has a detection of PFBS (4 ppt).

- Result letters templates are ready. After the coordination call next week, we can send the results letters ASAP.

- United Technologies – LEER

- The contaminant plume discharges immediately to the surface water.  There are no concerns relative to drinking water supplies. This project is on hold due to funding limitations.  EGLE do not believe any decision will be made on potential funding until next year and the odds for additional money are low.

- White Pigeon

- MDHHS data team will start working on the Pivot Table

- Wurtsmith Air Force Base and Oscoda Township Dump

- Wurtsmith-Oscoda Area PFAS Response Coordination Calls (Local-State-Federal Agency Monthly PFAS Update Call) happened this week on 09.15.2021 and MDHHS provided update in the meeting.

- Eight (out of around 30) residences coordinates were sent to EGLE today and AECOM will be helping EGLE to gather the remaining GPS coordinates.

Upcoming Meetings

- October 12, 2021 – Citizen Advisory Workgroup call

- October 13, 2021 – Otsego Virtual Townhall – 6:00 – 7:30 PM

- October 14, 2021 – Arbor Hills Virtual Townhall

- December 7 – 12, 2021 -   Great Lakes Virtual PFAS Summit