# PFAS Weekly Update to LHD Advisory Committee January 14, 2022

Site Highlights

- Alto-Bancroft Elementary (Kent County)

- On January 3rd  EGLE,M DHHS, and Kent County Health Department (KCHD) held a call to review results from the residential well sampling.  Of 8 homes, only 1 had an exceedance of comparison values (CVs), at 430 ppt PFBS.  This residence includes three separate units and filters will be offered to each unit.

- Central Sanitary Landfill (Montcalm County)

- The site team has decided to monitor the possible fluctuation in the levels of PFAS in the two homes that had PFAS detections from the most recent sampling event (i.e., five homes were sampled for first time).  Filters will not be provided at this time but these homes will be resampled as part of MDHHS’ resampling activities at site.  MDHHS’ resampling will include resampling of all homes that have been previously sampled at the site.

- The LHD will speak with residents who received filters (low detection - houses without exceedances of PFAS) and offer replacement cartridges.

- MDHHS Community Engagement Coordinator provided the drafted result letters for review

- Eagle Ottawa Farms (Oceana and Newaygo Counties)

- On January 6th EGLE presented site model information to MDHHS for the Eagle Ottawa Newaygo Farms site.  PFOA levels up to 1800 ppt have been observed in shallow groundwater and EGLE is currently assessing nearby residential wells for sampling.

- Former Sanichem Landfill & LymTal (Oakland County)

- There was a site team meeting on January 6th and project team decided that residential wells will be sampled near these two sites.  Another meeting will be held to identify specific wells for sampling.

- There is a mobile home park between the two sites. Samples were taken from the well of this mobile park and the results were non detect for PFAS

- Helmer Dickman (Calhoun County)

- MDHHS has scheduled sampling for PFAS of the replacement drinking water well at 167 Ellis for Monday, January 10th.

- Riverside Sand and Gravel Landfill Environmental (Kent County)

- New site in Kent County  and MPART is planning a meeting with the local officials tentatively scheduled for February 2 or February 3, 2022.  There are no nearby residential drinking water wells in the area.

- SMDA 11 (Oakland County)

- The site team has agreed to sample the drinking water wells located west of the site

- EGLE said that the groundwater flow is northeast to southwest. MDHHS geologist found information suggesting an eastern component to groundwater flow. The toxicologist suggested sampling the drinking water wells located not only to the west of the site, but also to the east and southeast. MDHHS toxicologist and geologist put together a list of recommended wells for sampling. This list will be provided to the site team (EGLE and LHD)

- Spartan Chemical (Kent County)

- EGLE will sample one well located southwest to the site.