# PFAS Weekly Update to LHD Advisory Committee October 15, 2021

Site Highlights

- Alto-Bancroft

- (New site) PFAS have been observed in a school well at increasing levels since 2018, and now exceeding the CV for PFHxS.  Several downgradient residences will likely be sampled for PFAS.

- Arbor Hills

- A project team call occurred on October 5 to go over slides for the October 28 public meeting. Another call is scheduled for October 13 to finalize the slides.

- Brooks/Laketon

- Six results were sent to the project team on October 6. One result exceeded Part 201 criteria and the CVs. Residents will be contacted next week by phone from MDHHS.

- Bray Road

- There was an agency meeting (EGLE and MDHHS) on 10/08/2021 about well sampling results and how to move forward.

- MDHHS will send a recruitment letter to the house near the one with exceedances.

- Capital Region International Airport

- Type II well (Delta Mills Early Childhood Center/Grand Ledge Public Schools) in Eaton County was sampled on 2021 and was non detect (ND) for PFAS.

- Gunnisonville Meadows/Brandino Properties, a type II well located in Clinton County, was sampled on 2021 and was ND for PFAS.

- Pepsi Cola, a type II well located in Clinton County, was sampled on 2020 and was ND for PFAS.

- A meeting with the Locals Officials was held on October 12,2021.

- MDHHS asked EGLE for an agency meeting to discuss the data received and future steps.  MDHHS will schedule the meeting.

- Clare Water Supply

- MDHHS completed the initial Public Health Action (PHA) for Clare Water Supply.

- On October 5th, MDDHS received a Proposed Investigation Form for Clare Water Supply that recommends sampling 4 drinking water wells. Project meeting is being scheduled to discuss residential well sampling.

- Coldwater Rd. Landfill

- MDHHS sent out the results letters and the recommendation in the mail last week.

  - For 1278 E. Stanley Rd, the recommendation is continue to use water from a certified filtration system.

  - For 1320 E. Stanley Rd, the recommendation is continue to use their water for drinking, cooking, bathing, and all other water-related activities.

- MDHHS sent an email to Genesee county about MDHHS’ recommendations for the two residences.

- Franklin Village Area

- EGLE sent the results of five PFAS residential well samples taken on July 29th.  Four were from Type III private residential wells, and one from the Fire Station or 32707 Franklin Road.  All samples are non-detect.

- Ionia Biosolids (Palo)

- Results received for two additional residences.  One home was ND.  2nd home had detections below CVs but approaching the CV for PFOS (7 ppt observed) and has been offered a filter.

- North State Road

- EGLE collected nine additional drinking water well samples on Wednesday (9/29/21) for the North State Road PFAS investigation (formerly referred to as Discount Tire Area Investigation). One of those samples is from the new well at 2275 North State Road (auto sales place).

- Results were received on Thursday October 7, 2021. One house has PFAS exceedances. MDHHS contacted the resident and will provide a pitcher filter.

- City of Stanton Landfill

- The results letters are with local health for approval.

- Sunoco Pipeline (New PFAS site in St. Clair County)

- MDHHS has drafted a PHAP and an initial PHA.

- EGLE is planning on scheduling a project team call soon.

- Wixom Biosolids

- 16 homes are scheduled for sampling on October 8th.

Upcoming Meetings

- October 28, 2021 – Arbor Hills Virtual Townhall

- December 7 – 12, 2021 -   Great Lakes Virtual PFAS Summit