# PFAS Weekly Update to LHD Advisory Committee November 12, 2021

Site Highlights

- 3523 Heights Ravenna Rd ( Muskegon County)

- 9 wells have been sampled to date; 1 non detect (ND), 4 Detections Below MDHHS comparison Values (CV) with Total PFAS < 10ppt, 2 At CV for PFOA/PFOS, and 2 Above CV for PFOA/PFOS. Highest PFOA - 14 ppt; Highest PFOS 12 ppt.

- Bangor Township Landfill (Bay County)

- A call with the local officials will be held on November 12, 2021.

- The LHD said that the closest well on record is over 2700 feet away and that any wells within that range and beyond have about 80-90 feet of clay overburden for protection. EGLE said that once they know where the well is located, they will reach out to sample it.

- Alpena CRTC (Alpena County)

- Public Information Meeting scheduled for December 15, 2021 from 6 to 7:30 PM. Sesha Kallakuri, Toxicologist will present PFAS & Health Effects & MDHHS Resampling updates.

- Bray Road (Genesee County)

- The recruitment letter was sent out on November 2, 2021.

- Camp Grayling (Crawford County)

- Site toxicologist and community engagement coordinator (CEC) attended the RAB meeting on 11/2 from 6 to 7:30. Toxicologist provided resampling Round 2 updates and CEC discussed the quarterly newsletter and addressed issues concerning results letters.

- Camp Grayling Army Airfield  (Crawford County)

- National Guard Bureau (NGB’s) resampling will take place between November 1 and November 15. 123 of 330 homes have accepted to participate.

- NGB replaced whole house filter (WHF) cartridges at River House Women’s Shelter due to indicator light turning red. Water samples were collected prior to swapping cartridges and results indicate levels are below CV in filtered water even after the warning lights have been triggered. Awaiting results from sampling done after replacing cartridge.

- Capital Region International Airport (Ingham County)

- The town hall has been rescheduled to November 17.

- MDHHS emailed LHDs and EGLE the next steps based on our last agency meeting. MDHHS also sent the list of houses that will receive recruitment letters and asked if they had any comments. None of the agencies provided any comments; therefore, MDHHS will email the letters.

- Central Sanitary Landfill Residential (Montcalm County)

- EGLE informed MDHHS that the Central Sanitary Landfill residential sampling had a little bit of a setback.   Original residential well samples were accidentally discarded by the lab.  Recollection of residential well samples took place on Monday, November 8, 2021.

- Clare Water Supply (Isabella County)

- LHD approved the Clare Water Supply Public Health Action Plan (PHAP).

- The final version of the PHAP was sent to the Site Team

- Delta County Landfill (Delta County)

- MDHHS is waiting for a response from local health as to whether any residential wells are near the landfill.

- Du-Wel Metals (Van Buren County)

- LHD received the point of use (POU) filters.

- MDHHS sent LHD the 10 letters they needed to send the filters.

- The data team has completed the summary table for Du-Wel.

- Foam on East Grand Traverse Bay  (Traverse County)

- MDHHS contacted EGLE and asked for more information about the release. EGLE went out to observe the foam and said that there was only a small amount of foam that was on the shoreline. Surface water and foam samples were not collected at that time. The foam complaint was entered into the MiWaters database, which gets reviewed by EGLE’s emerging pollutants section on a regular basis.

- Former DeYoung Landfill (Allegan County)

- A project team call occurred on October 29.

- MDHHS has sent EGLE and local health a list of residential wells that should be sampled.

- MDHHS is waiting for EGLE to reach out to Ottawa County Health Department before sending the PHAP to the project team.

- Former Kincheloe Air Force Base (Chippewa County)

- House that had only PFOS detections was resampled to confirm results. MDHHS/EGLE wanted to confirm because general results in the area show PFOS detections along with other PFAS. Samples were analyzed at both MDHHS (39 PFAS) and EGLE (18 PFAS) labs. Results were ND for all 39 PFAS tested at MDHHS lab. PFOA was detected at 2 ppt, same as reporting limit, based on testing done at EGLE lab. This confirms the original sample with only PFOS at 17 ppt was an anomaly.

- Hemphill Landfill (Genesee County)

- MDHHS received the results of the relative shallow type III well (90’). Results were ND.

- Otsego (Allegan County)

- 44 homes sampled

- 3 detections, 1 exceedance above CV.

- A filter was provided to the house with exceedance and the house with detection that is next to the one with exceedance.

- 8 additional homes were sampled on November 3rd.

- There are a few calls on the hotline, so we may even have some more for this week.

- Pellston (Emmet County)

- Little Traver Bay Band Head Start Day Care (LTBB) PFAS results continue to be ND after the POU filters.

- The resampling press release has gone out.

- Saranac Landfill (Ionia County)

- 12 out of 13 wells sampled were ND. One home has exceedance of CV – PFOA at 74 ppt and PFOS at 41 ppt. Site toxicologist will coordinate with ICHD and implement the PHAP. POU filter will be offered.

- Techni-Comp (St. Clair County)

- The call for local officials took place on November 3.

- Wurtsmith Air Force Base and Oscoda Township Dump (Iosco County)

- The townhall meeting was held November 3, 2021 for this site.  Approximately 55 residents attend the meeting.

- The next Restoration Advisory Board (RAB) is scheduled for November 17.

- The next Need Our Water (NOW) meeting is scheduled for November 8.

Upcoming Meetings

- November 12, 2021 – Bangor Township Landfill call w/ Local Officials

- November 17, 2021 – Wurtsmith RAB

- November 17, 2021 – Capital Regional Airport Townhall – 6:00-7:30 PM

- December 7 – 12, 2021 -   Great Lakes Virtual PFAS Summit

- December 15, 2021 – Alpena CRTC Townhall – 6:00-7:30 PM