# PFAS Weekly Update to LHD Advisory Committee December 4, 2020

Site Highlights

- Pellston Airport (Emmit County)

- Monitoring Well (MW) results from Pellston Airport showed elevated PFOA in 4/10 MWs (max PFOA=192 ppt) and elevated PFOS in 6/10 MWs (max PFOS=931 ppt). 10 surface water (SW) samples from Maple River showed no exceedances of Surface Water Quality Values (max PFOS=10.8 ppt). Call set up for Dec. 7 to discuss results and next steps.

Upcoming Meetings

- December 9, 2020 – Rothbury Forest Road Townhall – EGLE, MDHHS, LHD – Webinar – 6:00 to 7:30 PM